## Slide 1
3 Phase Electricity Measurement System
- AFRIN FATHIMA -

## Slide 2: Energy Consumptions
High Peaks:
The highest peak occurs on 11-Aug with a value of 216 units, representing a significant increase. This is the most substantial change observed in the data.
Other notable peaks include 17-Aug (195.2), 31-Aug (189.6), and 13-Aug (148).
Sharp Declines:
There is a sharp decline on 11-Aug to 5.6 units, right after the peak on 10-Aug. This suggests a drastic reduction following a day of high activity.
Week On Week change chart shows the changes in week 2 is higher compare to previous week. Likewise, every week it is in increasing pattern. Week-6 shows negative value since we have a minimal data on that month. In September we have only 2 days data so its showing negative value.
Chart: Day on Day change
| 03-Aug | 04-Aug | 05-Aug | 06-Aug | 07-Aug | 08-Aug | 09-Aug | 10-Aug | 11-Aug | 12-Aug | 13-Aug | 14-Aug | 15-Aug | 16-Aug | 17-Aug | 18-Aug | 19-Aug | 20-Aug | 21-Aug | 22-Aug | 23-Aug | 24-Aug | 25-Aug | 26-Aug | 27-Aug | 28-Aug | 29-Aug | 30-Aug | 31-Aug | 01-Sep | 02-Sep
DAyonDay change | 16 | 99.2 | 124.8 | 161.6 | 166.4 | 143.2 | 216 | 5.6 | 148 | 178.4 | 175.2 | 191.2 | 192.8 | 195.2 | 41.6 | 132 | 143.2 | 156 | 155.2 | 163.2 | 171.2 | 16 | 128.8 | 166.4 | 177.6 | 160 | 151.2 | 189.6 | 21.6 | 42.4
Chart: Week ON WEEK Change
| Week-1 | Week-2 | Week-3 | Week-4 | Week-5 | Week-6
Weeks | 1392 | 1598.4 | 1412.8 | 1471.2 | -72.8

## Slide 3
High Points:
The highest peak occurs on Saturday of Week-2 with a value of 314.4. This is the maximum activity level across all the days and weeks.
Other notable peaks include Saturday of Week-3 (293.6), Friday of Week-3 (291.2)
Low Points:
Every week of Sunday’s getting lowest when compare to other days. Lowest on Sunday of Week-2 (104).
Monitor Consistently Low Days:
Since Sundays generally have lower activity, these could be good days for performing maintenance or implementing changes that might otherwise disrupt peak activity.
Chart: Peak Day of the week
| Saturday | Sunday | Friday | Monday | Saturday | Sunday | Thursday | Tuesday | Wednesday | Friday | Monday | Saturday | Sunday | Thursday | Tuesday | Wednesday | Friday | Monday | Saturday | Sunday | Thursday | Tuesday | Wednesday | Friday | Monday | Saturday | Sunday | Thursday | Tuesday | Wednesday | Monday | Week-1 | Week-2 | Week-3 | Week-4 | Week-5 | Week-6
Total | 98.4 | 114.4 | 241.6 | 197.6 | 314.4 | 104 | 264.8 | 223.2 | 260 | 291.2 | 246.4 | 293.6 | 140 | 289.6 | 276.8 | 273.6 | 261.6 | 230.4 | 269.6 | 114.4 | 253.6 | 241.6 | 254.4 | 249.6 | 227.2 | 288 | 120 | 258.4 | 264.8 | 276 | 140.8

## Slide 4
Further Investigation Needed :
It would be beneficial to understand what factors contribute to the highest peak on 10-Aug 19:00 22.4 and the low on 25-Aug. Analyzing these days could provide insights into the causes (such as events, promotions, or external factors) affecting peak hour activity.
Low Points:
The lowest point is on 25-Aug at 8.8 units, indicating minimal peak hour activity.
Another significant low point is on 18-Aug & 1-Sep(12), suggesting a sudden drop after the peak on 10-Aug.
10-Aug 19:00
Chart: Peak Hours on Each day
| 20:00 | 03:00 | 19:00 | 16:00 | 15:00 | 15:00 | 11:00 | 19:00 | 00:00 | 10:00 | 10:00 | 10:00 | 07:00 | 08:00 | 11:00 | 00:00 | 10:00 | 15:00 | 08:00 | 10:00 | 10:00 | 07:00 | 00:00 | 10:00 | 15:00 | 10:00 | 10:00 | 15:00 | 16:00 | 00:00 | 11:00 | 3-Aug | 4-Aug | 5-Aug | 6-Aug | 7-Aug | 8-Aug | 9-Aug | 10-Aug | 11-Aug | 12-Aug | 13-Aug | 14-Aug | 15-Aug | 16-Aug | 17-Aug | 18-Aug | 19-Aug | 20-Aug | 21-Aug | 22-Aug | 23-Aug | 24-Aug | 25-Aug | 26-Aug | 27-Aug | 28-Aug | 29-Aug | 30-Aug | 31-Aug | 1-Sep | 2-Sep
Total | 13.6 | 12.8 | 13.6 | 12.8 | 17.6 | 16 | 16.8 | 22.4 | 13.6 | 17.6 | 17.6 | 16 | 18.4 | 18.4 | 17.6 | 12 | 16.8 | 15.2 | 16.8 | 16 | 16 | 16 | 8.8 | 16 | 17.6 | 16 | 17.6 | 16.8 | 17.6 | 12 | 16
High Points:
The highest peak is observed on 10-Aug 19:00 at 22.4 units, suggesting that this day had the maximum activity or demand compared to other days.
Other notable high points are on 15-Aug & 16-Aug (18.4)

## Slide 5: Current demand
This shows how current fluctuation varies on each day for every week.
We have totally 6 weeks of data in this we can see peak current on Week-2 10-Aug (Saturday) which is around 86540.99 .
Other notable high points are on Week -3 17-Aug (81659.53) & 16-Aug (79.940.87))
.
Chart: Peak Days Of the Week
| 3-Aug | 4-Aug | 5-Aug | 6-Aug | 7-Aug | 8-Aug | 9-Aug | 10-Aug | 11-Aug | 12-Aug | 13-Aug | 14-Aug | 15-Aug | 16-Aug | 17-Aug | 18-Aug | 19-Aug | 20-Aug | 21-Aug | 22-Aug | 23-Aug | 24-Aug | 25-Aug | 26-Aug | 27-Aug | 28-Aug | 29-Aug | 30-Aug | 31-Aug | 1-Sep | 2-Sep
Week-1 | 27998.51 | 31667.43
Week-2 | 56978.15 | 62410.17 | 72092.7 | 71399.38 | 66835.96 | 86540.99 | 32468.4
Week-3 | 68754.61 | 74382.14 | 75606.54 | 78800.25 | 79940.87 | 81659.53 | 39563.37
Week-4 | 64882.9 | 65592.23 | 68702.41 | 72132.4 | 71773.51 | 72758.07 | 32535.71
Week-5 | 64207.65 | 72034.33 | 77874.12 | 71156.66 | 68511.85 | 77298.52 | 34159.67
Week-6 | 40874.51

## Slide 6: Current demand
Peak Current in August is 445.82
Maximum Current consumption is on August 10th Saturday compare to other months
Total Average Current:
The total average current is 45.23.
Chart: 
Average Current On Each Phase | 13.4466 | 16.0713 | 15.7083 | 54.82
TotalAverageCurrent | 45.2261 | 54.77
Chart: Peak Current on Month
| Aug | Sep
Total | 445.82 | 350.81
Chart: Peak Current on 08-10
9-Aug | 86540.99

## Slide 7: Voltage Variation Analytics
Chart: 
Voltage Stability: All voltage columns show very low standard deviations, indicating stable voltage levels over time.
Chart: Voltage variation analytics
| 3-Aug | 4-Aug | 5-Aug | 6-Aug | 7-Aug | 8-Aug | 9-Aug | 10-Aug | 11-Aug | 12-Aug | 13-Aug | 14-Aug | 15-Aug | 16-Aug | 17-Aug | 18-Aug | 19-Aug | 20-Aug | 21-Aug | 22-Aug | 23-Aug | 24-Aug | 25-Aug | 26-Aug | 27-Aug | 28-Aug | 29-Aug | 30-Aug | 31-Aug | 1-Sep | 2-Sep
Sum of voltage_a | 120025.5 | 343098.5 | 343000.6 | 343031.9 | 342989.7 | 342723.5 | 342969.5 | 342913.4 | 386410.6 | 343170.3 | 342921.1 | 342918.7 | 342897.8 | 342914.8 | 342910.2 | 343060.7 | 342972.2 | 342970.4 | 342975.6 | 342712.5 | 342946 | 342930.8 | 343077.1 | 342964.1 | 342932.2 | 342909.2 | 342937.2 | 342955.1 | 342877.7 | 341160.5 | 222933.4
Sum of voltage_bc | 208091.6 | 594831.8 | 594711.6 | 594733.2 | 594667.5 | 594257.2 | 594683.2 | 594546.8 | 669975.7 | 595025.9 | 594580.4 | 594590.3 | 594568.6 | 594572.1 | 594568.8 | 594810.5 | 594692.1 | 594677.2 | 594687.9 | 594220.3 | 594632.1 | 594625.3 | 594826.6 | 594670 | 594617.3 | 594565 | 594612.6 | 594633.7 | 594513.6 | 591497.3 | 386540.4
Sum of voltage_b | 120057.3 | 343215.8 | 343119.3 | 343137.3 | 343084.8 | 342851.2 | 343098 | 343008.7 | 386570.9 | 343279.3 | 343033.3 | 343037.9 | 343014.7 | 343029.9 | 343025.6 | 343208.9 | 343112 | 343099.2 | 343104.7 | 342828.6 | 343062.8 | 343061.3 | 343210.2 | 343089.7 | 343056.4 | 343014.7 | 343046.2 | 343067.3 | 342991 | 341290.1 | 223023.8
Sum of voltage_ab | 207888.2 | 594299.9 | 594122.4 | 594165.1 | 594083.1 | 593646.3 | 594072.2 | 593952 | 669339 | 594414.3 | 593976.9 | 593979.2 | 593944.9 | 593967.7 | 593962.6 | 594255.6 | 594092.7 | 594075.6 | 594084.5 | 593618 | 594022.6 | 594008.5 | 594272.7 | 594065.5 | 594005.5 | 593949.2 | 594000.6 | 594033.2 | 593919.3 | 590948 | 386168.8
Sum of voltage_ca | 208075.3 | 594743.6 | 594620.2 | 594660 | 594593.8 | 594158.2 | 594584.3 | 594464.6 | 669869.1 | 594930.8 | 594492.1 | 594492.7 | 594472.4 | 594478.3 | 594472 | 594708.1 | 594578.4 | 594576.5 | 594588.8 | 594127.8 | 594538.9 | 594519.5 | 594729.9 | 594563.5 | 594516.1 | 594484.7 | 594522.9 | 594548.9 | 594413.5 | 591405.6 | 386459.1
Sum of voltage_c | 120257.3 | 343760.9 | 343689.8 | 343706.9 | 343669.1 | 343425.1 | 343674.2 | 343595 | 387179.1 | 343878 | 343609.5 | 343613.8 | 343613.6 | 343600.7 | 343601 | 343731.8 | 343667.1 | 343664.1 | 343672.8 | 343405.7 | 343643.7 | 343632.8 | 343749.6 | 343661 | 343631.8 | 343611.3 | 343637.4 | 343643.3 | 343576.5 | 341820.5 | 223375.6
Chart: 
| Voltage_A | Voltage_B | Voltage_C | Voltage_AB | Voltage_BC | Voltage_CA
MAX | 239.3 | 238.8 | 239.2 | 409.3 | 413.9 | 414.2
MIN | 236.3 | 236.4 | 236.9 | 413.9 | 410 | 410
AVERAGE | 238.1715 | 238.2549 | 238.6508 | 412.5455 | 412.958 | 412.8926
Chart: 
Mean Values: The mean values for voltage_a, voltage_b, and voltage_c are close to each other, around 238.2 to 238.7. The mean values for voltage_ab and voltage_bc are significantly higher, around 412.5 to 413.0.
Standard Deviation: The standard deviation for all voltage types is relatively low, indicating that the voltage values are tightly clustered around the mean.
Minimum and Maximum Values: The minimum and maximum values for voltage_a, voltage_b, and voltage_c are close to each other, while those for voltage_ab and voltage_bc are higher, reflecting their higher mean values.

## Slide 8: Power Factor Analytics
Upcoming Deposits
35.41% from last week
29.47% from 6 months ago
Upcoming Deposits
Standard Deviation 0.03
Minimum 0.799
Maximum 0.999
Variance 0.00092
0.03
0.00092
0.999
0.799
Chart:   Total Average Powerfactor
| Total
Total | 0.98337
Chart: Average Power factor on Each Phase
| Total
Average of powerFactor_a | 0.95637
Average of powerFactor_b | 0.95832
Average of powerFactor_c | 0.96886
Chart: 
| Standard Deviation | Variance | Maximum | minimum
Series1 | 0.030352 | 0.00092125 | 0.999 | 0.799

## Slide 9
THANK YOU